# Development of WSi films for Superconducting Nanowire Single Photon Detectors

Alison Goldingay1, Hassan Jamal Latief1, Justin Brown1, Upender Singh1, Gabriele de Boo1, Alexey Lyasota1, Sven Rogge1

1ARC Centre of Excellence for Quantum Communication and Computation Technology, School of Physics, University of New South Wales, Sydney, NSW 2052, Australia

The detection of infrared photons is critical to the successful readout of single photon states of spin qubit platforms such as embedded ions. Superconducting nanowire single photon detectors (SNSPDs), based on the simple principle of the generation of a hotspot in a superconducting nanowire upon photon absorption leading to a resistance spike, provide an excellent platform for fast and efficient detection of infrared photons. SNSPDs have been shown to achieve near unity efficiency including at the critical telecommunication wavelength of 1550 nm, with extremely low near-zero dark counts, low rest times and low jitter. Tungsten silicide (WSi) is a common choice of nanowire material since it has a high internal efficiency, is amorphous in nature and allows for embedding of the material inside an optical stack to enhance absorption.

Here, we report the development of WSi films for nanowire fabrication and incorporation into SNSPDs which will be fabricated and tested entirely within-house. We report the resistance of these films as well as their critical temperature, marking their transition to a superconducting state at cryogenic temperatures, for films sputtered onto a variety of substrate surfaces, such as silicon and silicon oxide, in preparation for their inclusion into SNSPD optical stacks. Finally, we report an outlook on how these SNSPDs can enable ultrafast measurement of spin qubit systems such as embedded rare-earth ions.